## Guidance
Introduction to the OES Study:
This questionnaire is provided to allow International Energy Agency’s Ocean Energy Systems Technology Collaboration Programme (OES) to conduct a study on the Cost of Energy for Ocean Energy. The overall objective is to provide information on the cost of ocean energy technologies using a common, collaborative and transparent methodology with the aim to understand past/current trends and anticipate future development. For this purpose, OES prepared this questionnaire for collecting information from ocean energy technology developers. Your responses to the questionnaire will be stored in secure environment with access privileges restricted. Published results will only be aggregated and not individually attributable. After completion of the study, any personal identification data will be removed. We look forward to your collaboration to this study.
We appreciate receiving your answers by Friday 28th September, 2018. If you have any questions please contact Julia F. Chozas (info@juliafchozas.com) or Alex Raventos (info@inn2grid.com).
LCOE Model Inputs:
The LCOE model is developed to be transparent and versatile so as to suitably reflect the cost of energy of different ocean energy technologies rather than to be a design tool. In the following sheet different type of inputs are required with the following "colour-code":
Required input: |  | There are relatively few mandatory inputs in this tool and these are limited to the CAPEX component of the project sub-system and the full-scale
Optional input: |  | Optional inputs that can be provided (e.g. name, descriptions, etc.). Only for info, published results will be aggregated and treated confidentially.
Explanatory text: |  | Optional to add comments to explain the selected inputs.
Fixed content: |  | Participants cannot change.
Fixed content: |  | Model output. Participants cannot change.
More info: | Cells with red corners have further information for the respondent, which can be viewed with a “mouse-over.”
Scenarios:
Inputs are requested for three different alternative deployment scenario definitions. An indicative project capacity is proposed, but developers are free to change it for capacities of their existing or planned projects.
Proposed scenarios: |  | A. 1 demo prototype (≈ 10 kW to 2 MW)
B. Small array (≈ 2-10MW), which may be a pre-commercial array or a small array for remote markets
C. Utility scale array (≈ 50-200 MW)
Background
The Technology Collaboration Programme on Ocean Energy Systems (OES), within the International Energy Agency (IEA), is an intergovernmental collaboration between countries, to advance research, development and demonstration of technologies to harness energy from all forms of ocean renewable resources, through international co-operation and information exchange. More information about this project is available at the OES website:
www.ocean-energy-systems-org
Version 5 OES
Date 14.09.2018
International Ocean Energy LCOE Study
Note on B32: OES: cells with red corners have further information for the respondent, which can be viewed with a “mouse-over.”

## Questionnaire
| Company Information |  |  |  |  | Please provide below a short introduction to your technology
| Developer Company Name: |  |  |  |  | Please provide a short description of the technology being developed
Technology Name:
| Ocean energy type: | [6 empty] | Wave | Tidal Stream | Tidal Range | Other
Contact name:
Contact email:
Date
Country:
| Technology Readiness Level |  |  |  |  | Please provide below any relevant info on your TRL level
TRL levels description:
| Prototype built and installed at sea |  | TRL 1 – basic principles observed TRL 2 – technology concept formulated TRL 3 – experimental proof of concept TRL 4 – technology validated in lab TRL 5 – technology validated in relevant environment TRL 6 – technology demonstrated in relevant environment TRL 7 – system prototype demonstration in operational environment TRL 8 – system complete and qualified TRL 9 – actual system proven in operational environment |  |  | Please provide a short description of the technology readiness level (e.g. tests performed up to date, scale, duration, etc.) |  | yes | no
Rating of installed Prototype (MW)
| Scale of largest prototype tested | [6 empty] | 1:1 | ≥1:2 | ≥1:4 | <1:4
| Hours of operation at sea (h) | [6 empty] | ≥ 1 year | ≥ 3 months | 1 - 3 months | < 1 month
| Generated electricity so far (MWh) | [6 empty] | ≥ 10.000 MWh | ≥ 1.000 MWh | ≥ 100 MWh | ≥ 10 MWh | < 10 MWh
| TRL | [6 empty] | 9 | 8-7 | 6-5 | ≤ 4
|  | For further info on TRL: | https://publications.europa.eu/en/publication-detail/-/publication/1da3324e-e6d0-11e7-9749-01aa75ed71a1/language-en/format-PDF/source-61073523
Input table: GENERAL PROJECT INFO
|  | Single Prototype (≈ 0,1 - 2MW) | Small Array (≈ 2-10 MW) | Utility Scale (≈ 20 - 200 MW) |  | Please provide any text below that may help understand your inputs:
Project capacity (MW)
Cumulative Deployment prior to each deployment stage (MW)
Year of Deployment (past or future)
| Project lifetime (years) |  |  |  |  | indicate the project lifetime (e.g. 20 years)
| Discount Rate used (%) |  |  |  |  | indicate rationale for using this rate
Country of deployment
| Distance to shore (km) |  |  |  |  | Distance to shore for length of grid connection (AC or DC)
| Distance to port (km) |  |  |  |  | Distance to Port (for installation and O&M).
| Water depth (m) |  |  |  |  | Water depth for installation and mooring lenth, etc.
| Hs max (m) |  |  |  |  | Hs Max used in the design
Input table: CAPEX PARAMETERS
|  | Single Prototype (≈ 0,1 - 2MW) | Small Array (≈ 2-10 MW) | Utility Scale (≈ 20 - 200 MW) |  | Please provide any text below that may help understand your inputs:
OVERALL CAPEX (€/kW)
Project development | Project development (as a % of CAPEX) |  |  |  | Project development
Grid connection | Grid connection (as a % of overall CAPEX) |  |  |  | Grid connection
Structure and prime mover | Structure and prime mover (as a % of CAPEX) |  |  |  | Structure and prime mover
Power Take Off | Power Take-off (as a % of overall CAPEX) |  |  |  | Power Take Off
Moorings and Foundations | Moorings and Foundations (as a % of CAPEX) |  |  |  | Moorings and Foundations
Installation | Installation (as a % of overall CAPEX) |  |  |  | Installation
|  | 0% | 0% | 0%
| Estimate of uncertainty (range, in %) |  |  |  |  | Indicate the % that indicates the range of possible variation |  | A. Actual | B. Detailed | C. Preliminary | D. Simplified | E. Goal
| Define the source of cost estimate |  |  |  |  | Add any jutification to explain where the cost estimates are obtained from. |  | A. Actual | B. Detailed | C. Preliminary | D. Simplified | E. Goal
Type of source for cost estimates (for uncertainty):
A. Actual costs: e.g. cost incurred in a project (no uncertainty) B. Detailed engineering: e.g. before manufacturing, quotes from suppliers C: Preliminary engineering: during design process, some quotes recieved. D: Simplified cost model: e.g. techno-economic model, scaling functions E. Goal: e.g. long term target without detailed assessement
| More info on: | Previsic M. (2013). “Cost-reduction pathways for wave energy”. OES Annual Report 2012.
| Input Table: OPEX PARAMETERS |  |  |  |  | More info on: | Previsic M. (2013). “Cost-reduction pathways for wave energy”. OES Annual Report 2012.
|  | Single Prototype (≈ 0,1 - 2MW) | Small Array (≈ 2-10 MW) | Utility Scale (≈ 20 - 200 MW) |  | Please provide any text below that may help understand your inputs:
OVERALL annual OPEX (as % CAPEX per year)
Annual O&M | Annual O&M costs (as % CAPEX per year) |  |  |  | Annual Insurance
Annual Insurance | Annual Insurance (as % CAPEX per year) |  |  |  | Annual Sea bed lease rates
Annual Sea bed lease rates | Annual Sea bed lease rates (as % CAPEX per year) |  |  |  | Other
Other | Other (as % CAPEX per year)
|  | 0% | 0% | 0%
| Estimate of uncertainty (range, in %) |  |  |  |  | Indicate the % that indicates the range of possible variation |  | A. Actual | B. Detailed | C. Preliminary | D. Simplified | E. Goal
| Define the source of cost estimate |  |  |  |  | Add any jutification to explain where the cost estimates are obtained from. |  | A. Actual | B. Detailed | C. Preliminary | D. Simplified | E. Goal
Type of source for cost estimates (for uncertainty):
A. Actual costs: e.g. cost incurred in a project (no uncertainty) B. Detailed engineering: e.g. before operation & maintenance, quotes received. C: Preliminary engineering: during design process, some quotes recieved. D: Simplified cost model: e.g. techno-economic model, scaling functions E. Goal: e.g. long term target without detailed assessement
| More info on: | Previsic M. (2013). “Cost-reduction pathways for wave energy”. OES Annual Report 2012.
Input Table: ANNUAL ENERGY PRODUCTION PARAMETERS
|  | Single Prototype (≈ 0,1 - 2MW) | Small Array (≈ 2-10 MW) | Utility Scale (≈ 20 - 200 MW) |  | Please provide any text below that may help understand your inputs:
| Mean Resource Level (kW/m - Wave; m/s - Tidal) |  |  |  |  | Indicate what is the resource of the site you consider. This will help to analyse results depending on sites (high - med resource).
Capacity Factor
Availability
| Annual Energy Production (MWh/y) | 0 | 0 | 0
| Estimate of uncertainty (range, in %) |  |  |  |  | Indicate the % that indicates the range of possible variation |  | A. Actual | B. Detailed | C. Preliminary | D. Simplified | E. Goal
| Define the source of estimate |  |  |  |  | Add any jutification to explain where the production estimates are obtained from. |  | A. Actual | B. Detailed | C. Preliminary | D. Simplified | E. Goal
Type of source for estimates (for uncertainty):
A. Actual energy: produced in a project (no uncertainty) B. Detailed engineering: e.g. based on validated models and real resource data at site. C: Preliminary engineering: during design process. D: Simplified production model: e.g. techno-economic model, based on average resource. E. Goal: e.g. long term target without detailed assessement
| More info on: | Previsic M. (2013). “Cost-reduction pathways for wave energy”. OES Annual Report 2012.
SUMMARY and OUTPUT TABLE
|  | Single Prototype (≈ 0,1 - 2MW) | Small Array (≈ 2-10 MW) | Utility Scale (≈ 20 - 200 MW)
| Project Capacity (MW) | 0 | 0 | 0
| Overall CAPEX (€/kW) | 0 - 0 | 0 - 0 | 0 - 0
| Overall Annual OPEX (€/kW/year) | 0 - 0 | 0 - 0 | 0 - 0
| Annual Energy Production (MWh/y) | 0 - 0 | 0 - 0 | 0 - 0
| Project lifetime (years) | 0 | 0 | 0
| Discount Rate | 0% | 0% | 0%
| min. LCOE (€/MWh) | #DIV/0! | #DIV/0! | #DIV/0!
| avg. LCOE (€/MWh) | #DIV/0! | #DIV/0! | #DIV/0!
| max. LCOE (€/MWh) | #DIV/0! | #DIV/0! | #DIV/0!
Calculation Tables
Minimum Values
|  | Single Prototype (≈ 0,1 - 2MW) | Small Array (≈ 2-10 MW) | Utility Scale (≈ 20 - 200 MW)
| Project lifetime (years) | 0 | 0 | 0
| CAPEX (€/kW) - Uncertainty (%) | 0 | 0 | 0
| Rated Capacity of array (MW) | 0 | 0 | 0
| Total CAPEX (MEUR) | 0 | 0 | 0
| Annual OPEX (€/kW) - Uncertainty (%) | 0 | 0 | 0
| Total annual OPEX (MEUR) | 0 | 0 | 0
| NPV of OPEX (MEUR) | 0 | 0 | 0
| Discount Rate | 0% | 0% | 0%
| AEP (MWh/y) + Uncertainty (%) | 0 | 0 | 0
| NPV of AEP (MWh) | 0 | 0 | 0
| min. LCOE (EUR/MWh) | #DIV/0! | #DIV/0! | #DIV/0!
| CAPEX+NPVof OPEX (MEUR) | 0 | 0 | 0
| %CAPEX*LCOE | #DIV/0! | #DIV/0! | #DIV/0!
| %OPEX*LCOE | #DIV/0! | #DIV/0! | #DIV/0!
Average Values
|  | Single Prototype (≈ 0,1 - 2MW) | Small Array (≈ 2-10 MW) | Utility Scale (≈ 20 - 200 MW)
| Project lifetime (years) | 0 | 0 | 0
| CAPEX (€/kW) | 0 | 0 | 0
| Rated Capacity of array (MW) | 0 | 0 | 0
| Total CAPEX (MEUR) | 0 | 0 | 0
| Annual OPEX (€/kW) | 0 | 0 | 0
| Total annual OPEX (MEUR) | 0 | 0 | 0
| NPV of OPEX (MEUR) | 0 | 0 | 0
| Discount Rate | 0% | 0% | 0%
| AEP (MWh/y) | 0 | 0 | 0
| NPV of AEP (MWh) | 0 | 0 | 0
| avg. LCOE (EUR/MWh) | #DIV/0! | #DIV/0! | #DIV/0!
| CAPEX+NPVof OPEX (MEUR) | 0 | 0 | 0
| %CAPEX*LCOE | #DIV/0! | #DIV/0! | #DIV/0!
| %OPEX*LCOE | #DIV/0! | #DIV/0! | #DIV/0!
Maximum Values
|  | Single Prototype (≈ 0,1 - 2MW) | Small Array (≈ 2-10 MW) | Utility Scale (≈ 20 - 200 MW)
| Project lifetime (years) | 0 | 0 | 0
| CAPEX (€/kW) + Uncertainty (%) | 0 | 0 | 0
| Rated Capacity of array (MW) | 0 | 0 | 0
| Total CAPEX (MEUR) | 0 | 0 | 0
| Annual OPEX (€/kW) + Uncertainty (%) | 0 | 0 | 0
| Total annual OPEX (MEUR) | 0 | 0 | 0
| NPV of OPEX (MEUR) | 0 | 0 | 0
| Discount Rate | 0% | 0% | 0%
| AEP (MWh/y) - Uncertainty (%) | 0 | 0 | 0
| NPV of AEP (MWh) | 0 | 0 | 0
| max. LCOE (EUR/MWh) | #DIV/0! | #DIV/0! | #DIV/0!
| CAPEX+ NPVof OPEX (MEUR) | 0 | 0 | 0
| %CAPEX*LCOE | #DIV/0! | #DIV/0! | #DIV/0!
| %OPEX*LCOE | #DIV/0! | #DIV/0! | #DIV/0!
Note on B18: OES: Please indicate if you have tested a prototype at sea.
Note on B19: OES: Please indicate if the rating of the prototype tested.
Note on B20: OES: Please indicate if the prototype was full scale (1:1) or part-scale
Note on B21: OES: If possible (optional), indicate the number of hours of operation at sea.
Note on B22: OES: If possible (optional), indicate the total electricity production so far achieved (if any) in MWh.
Note on B23: OES: Current TRL based on scale deployed and success (operating hours, and generated electricity).
Note on B30: OES: Please indicate the project capacity (in MW) of the scenario that you are providing information.
Note on B31: OES: Opional, provide (if any) an indication of the previous capacity assumed, prior to each scenario (this may be used for assessing learning rates).
Note on B33: OES: Indicate the project duration (for LCOE assessment). For a single prototype demo this may be short (LCOE only calculated for small or utility scale array)
Note on B34: OES: Please indicated your assumed doscount rate for each stage (e.g. 15-10%).
Note on B54: OES: Uncertainty Levels as proposed by the Electric Power Research Institute (EPRI, US) --> Estimate variation depending on effort going into the cost assessment (e.g. actual, detailed, preliminary, simplified or goal) and the development status of the technology (e.g. mature, commercial, demonstration, pilot or conceptual).
Note on B55: OES: Indicate the % that indicates the range of possible variation
Note on B56: OES: Please indicate the source of the cost data provided to assess the level of uncertainty (e.g. actua costs incurred in project, detailed engineering, preliminary engineering, simplified cost model or goal/target). These 5 levels are based on previous studies done for OES by M. Previsic (2013).
Note on B65: OES: Please provided an OPEX estimate as a % of CAPEX per year (e.g. OPEX per year = 3-5% CAPEX). If you have estimates in €/year or €/kW/yr please divide those for the CAPEX above to get the %.
Note on B71: OES: Indicate the % that indicates the range of possible variation
Note on B72: OES: Please indicate the source of the cost data provided to assess the level of uncertainty (e.g. actua costs incurred in project, detailed engineering, preliminary engineering, simplified cost model or goal/target). These 5 levels are based on previous studies done for OES by M. Previsic (2013).
Note on B86: OES: Indicate the % that indicates the range of possible variation
Note on B87: OES: Please indicate the source of the data provided to assess the level of uncertainty (e.g. actual production in project, detailed engineering, preliminary engineering, simplified model or goal/target). These 5 levels are based on previous studies done for OES by M. Previsic (2013).
International Ocean Energy LCOE Study
Formula